## Slide 1
AVTC Model Based Design Curriculum Development Project

## Slide 2
An Introduction to
Modeling an
Energy Storage System (ESS)
Modeling Single Switched Capacitor Balancing Using Simulink
Donald Docimo
Mohammad Ghanaatpishe
Hosam Fathy

## Slide 3: Equations for a Single Cell and the Capacitor in Parallel

## Slide 4: Simulink Representation for the Capacitor

## Slide 5: Simulink Representation for the Capacitor

## Slide 6: Single Cell in Parallel with the Capacitor

## Slide 7: Change to Single Cell Model
When connected, the capacitor resistor and the ohmic resistance are in series
  Simulink cannot handle resistors in series well in this situation without a very small time step.
  In order to fix this, the ohmic resistance is removed from the single cell model and combined with the much larger resistance associated with the capacitor connection.

## Slide 8: Equations for Multiple Cells in Series
As voltages sum in series, we simply sum the voltages of each cell to find the total pack voltage.
The current input for each cell and resistor model is the same, as current constant across series setups.
For this model, we’ll use a series of two cells.

## Slide 9: Two Cells in Series

## Slide 10: Switching Methods

## Slide 11: Switching Methods: Components
__________________________________________________________________________
__________________________________________________________________________
For each cell, Ic is subtracted only when capacitor is connected to that cell. For this figure (second cell), when the generator sends out 2, the second cell is connected.
Signal Generator:
Uses a square wave signal to send a repeated signal of 1 and 2 at a frequency of 10 kHZ
Multiport switch:
Sends cell voltage to capacitor based on generator number. For 1 input, the first cell is connected to the capacitor, and the first cell voltage is sent to the capacitor.

## Slide 12: Final Simulink Model

## Slide 13: References
[1] C. Rahn and C.Y. Wang. Battery Systems Engineering. Chichester: John Wiley & Sons, 2013.